U_Venture: Open-source and easy-to-use analysis tool for untargeted full scan / AIF experiments including CID fragment annotation.

Full title

Short title (70 characters)

Names and affiliations

Keywords (5 keywords)

# Abstract (500 words max)

Rationale, methods, results and conclusions

Analyzing non-target spectra can be time consuming  importance of automated workflows

Apart from full-scan spectra (only formula information -> molecular ions), also structural information are of interest  either MS/MS experiments (inclusion list is needed, information might be lost if not all non-target compounds are included in the inclusion list).

Therefore for non-target analyses, Full scan + AIF experiments (alternating, all in one single HPLC run) can be used to extract and save all available information in a digital copy of the sample. This prevents degradation of the sample and allows for later processing, as well as creating a database of many samples to allow for further / later meta-analysis of the measured samples. Analyzing AIF spectra by hand is hardly possible, hence, the need for an automated analysis tool.

The open source program presented in this work provides a simple and easy to use way of analyzing full scan / AIF experiments, to determine the formula of the molecular ion, as well as identify corresponding (stepped) CID fragments of untargeted HPLC-UHRMS measurements.

During the time of analysis, no assumptions about the sample is made, rendering this method a universal method that preserves all information that is contained within the sample. This saves all information of the sample in a single, yet complete digital copy that can be analyzed again and again with new methods and possibly a completely different research interest. The measured raw data can be saved in a database allowing to conduct meta-analyses.

# Introduction

What is the current problem?

Provide a mini review of previous work

Why is this interesting for the reader?

# Methods / Experimental

## Experimental plan

## Chemicals

A table with the chemicals, their quality, and the manufacturer can be found in Table lkjsadgjöklöösjdklg.

Preparation of standards

## Instrument method

HPLC method and MS method (software and ionization method) and instrument description

# Results

# Discussion

## Summary

# Funding information

# References

# Tables